## ESE Findings
SAFETY INSPECTION
LEHMAN INTERMEDIATE
Date of Inspection: April 29, 2011
Participants: Paul Schmid, Thomas Williams, Gail Kulick and Carolina Rodriguez
Date of Implementation for Corrective Action: 30 days after issuance of final report
Findings | Recommendation | Corrective Action
Walkway outside doors 13 & 14 has an 8" drop in the walkway. Sink hole on the lawn. Same type of situation was noted on the other side of the building. Severe tripping hazard. | Walkway and sink holes should be repaired immediately, hence; it can cause a tripping hazard. | Work Orders: 10362, 10363, 10364, 10365, 10366
Front of Building | Front of Building | Back of Building
Back of Building | Back of Building
Lights were left on in the Gym with no class in session. Water fountain and splash guard not functioning. Side panel under the fountain was off the wall. Clocks were not working. | Instruct staff to turn off lights when not in the room. Work order should be completed in order to fix water fountain. Side panel should be fixed. Clocks should be fixed. | Water Fountains: Work Order 10616 Clocks: Work Order 10617
Most fire extinguishers holders were damaged they were missing handles and plexi glass cover. | Fire extinguisher holders should be replaced or fixed. | Fire Extinguishers: D1 hallway (near room 123) needs handle and glass. D1 hallway (near room 120) needs handle and glass. A1 hallway (near bathrooms) needs glass. B1 main gym needs handle. B1 main gym news a new box. C2 hallway (near room 212) needs handle. Tim Harris will email Tom Williams to complete this project.
Computer Room: Floor outlet was broken and several desks were placed on the floor outlet. | Replace or repair broken floor outlet. Move desk off the floor outlets. If outlets are not going to be used they should be properly sealed off. | Computer Room 115: 1 floor outlet is used for printer. New power poles were installed making floor outlets unnecessary. All floor outlets have covers.
Room# 120: Outlet box under the TV was uncovered. There were not enough outlets in the room. There was an extension cord going to the overhead projector that went straight through the room. Teacher noted that students have tripped on the extension cord. | Additional outlets should be put in to accommodate the instruments that the music department might have. | Outlet Box: Work Order 10618. Teacher will need to utilize the extension cord on the overhead cart rather than extending an extension cord across the room.
Room# 126: Two ceiling tiles missing. Outlet cover broken. Hallway outside room, door panel was ripped. | Ceiling tiles should be replaced. Outlet cover should be replace. Panel should be fixed. | Door Panel: Work Order 10626. Ceiling tiles missing and/or stained: Work Order 10627.
Rooms are not identified by numbers or name. Mrs. Oiler and room adjacent to her. | Rooms should be identified using numbered. | Work Order 10619 to mark rooms 123 A, B, C, D
Missing outlets. Next to Mrs. Oiler's room | Outlets should be fixed. | Work Order 10625
Hallway outside band room: Ceiling tiles had water stains. | Ceiling tiles should be replaced. | Work Order 10627.
Room# 119: Windows are not properly sealed with caulk. Teacher pointed out that when it rains water goes through the door. Temp in the room fluctuates all time. There were no covers for the windows, teacher had to use posters to obstruct sunlight. Air handler system in the room, which creates a loud noise during teaching sessions. Missing Ceiling Tile and several tiles had water stains. | Windows should be properly sealed with caulk. Door should be fixed so that no water gets through. Window should get some type of window covering to protect children from the sun. Air handler room should be looked at, to see if noise could be reduced. Ceiling tiles should be replaced or fixed. | Window fixed by maintenance already. Ceiling tile was replaced.
Room# 112: Water cooler panel is off the base. | Water cooler should be replaced or repaired. | Work Order 10620
Men's room by room #100: Two hand dryers were not properly working. No soap available to the students. | Work order should be put in place to fix the hand dryers. Soap should be available at all times. | Hand Dryer on left side needs repair: Work Order 10621
Room# 101: door to the room were unlocked when not in use. | Door should be kept locked when not in use. | Teacher will be notified.
Room# 102: door to the room was unlocked when not in use. Internet wire was hazard hung across the ceiling. Extension cords were on the floor creating a tripping hazard. | Door should be kept locked when not in use. Install internet wire properly. Re-evaluate placement of the extension cords. | Teacher will be notified about wires and cords across the room.
Lights by the locker rooms were partially hanging down. | Lights should be properly mounted to the ceiling. | Work Order: 10628
The particion between room # 209 & # 210 does not close. It does not allow for the rooms to be fully separated. | Particion should be fixed in order to create a separation between the two classrooms. | Work Order: 10622 for Modernfold Door Company to inspect.
Room# 212: lights were left on when not in use. | Lights should be turned off when not in use. | Teacher will be notified.
Room# 211: Heater vent was dusty due to pencil sharpener shavings. | Heater vent should be cleaned off. | Teacher will be notified.
Hallways and stairwells were not properly lit. | Hallways and stairwells should be properly lit. | Hallway and stairwell lights are lit with the lighting that is available.
Cafeteria: fire evacuation procedures were not posted. | Evacuation procedures should be posted. | Evacuation procedures will be posted.
Room # 309: extension cord is creating a tripping hazard. Items were stored in front of the radiator heaters. | Extension cords should be removed when not in use in order to reduce a tripping hazard. Items should be removed from the radiator heaters. | Teacher will be notified about wires and cords across the room.
Positive Notes:
Doors were properly locked when students are in session.
AED were properly charged
Computer room was properly locked and lights turned off when not in use.
Room #120 heat was properly controlled
Room #114 room was properly locked and lights turned off when not in use.
Men's room on the second floor was properly kept up