## ESE Findings
SAFETY INSPECTION
EAST STROUDSBURG ELEMENTARY SCHOOL
Date of Inspection: March 25, 2011
Participants: Paul Schmid, Thomas Williams and Carolina Rodriguez
Date of Implementation for Corrective Action: 30 days after issuance of final report
Findings | Recommendation | Corrective Action | Result of Follow-Up
Buses # 83, 60, 4, and 44 did not perform a safety check prior to departure. | Buses should perform a safety check prior to departure. | Kim Holcomb will add to Handbook and ask drivers to check.
Buses # 14 and 60 were idling for several minutes before they shut down. | Buses should not idle, engines should be turned off when not in use. | As per Kim Holcomb, this practice is weather dependent.
Personal car was in bus drop-off area. | For safety purposes, parent's dropping off their children should not use the bus lot. | This was not a personal car. It was a contract driver hired by the district. | Disregard
There were several ice spots at the entrance of the school. | Ice spots should be removed before the staff/children arrive at the school. | Custodians will use ice melt in these areas.
Breakfast children came off the bus unattended. | There should be an employee helping/guiding the children when entering the school. Children should not get off the bus unattended. | The following AM staff assigned responsibiities were put in place for the 2010-2011 school year: Bus Release=S. Senese,J. Judd and M. Winkler. Flagpole=M.Luna. Front Door=S. Gabriel
Door to the boiler room was not locked. | For safety purposes, the door to the boiler room should be kept locked when not in use. | The door will be closed shut and kept locked when not in use.
Under the stairwell across form the boiler room entrance there was clutter. | Items should be neatly stored and floor should be swept. | PTO and over allocated items will be relocated as additional space becomes available.
Boiler room was not well maintained. There were boxes of paper towel stored in the boiler room, paint cans and old architectural plans. Items should be stored in a different location. | Boiler room needs to swept and picked up. | Boxes of paper will be relocated as storage space becomes available. The remaining items are maintenance concerns.
Next to a window inside the boiler room there was a piece of cardboard on the floor. Cardboard seemed to have been wet at one point. | Cardboard should be removed and if there is an issue with the window it should be addressed immediately. | Custodians are not aware of any problems with a window inside the boiler room.
There were two beverage air milk coolers that were locked and running. | Coolers should be turned off when not in use. | These coolers are used by the PTO. They will be advised to turn them off when not in use.
Coming out of the electrical room there was a hose that was left exposed. It looked like the hose was used for drainage. | Equipment should be properly stored when not in use. | This concern has been sent to James Shearose
Mechanical rooms throughout the school contained clutter and there were some items that were obstructing the panels. Ex electrical room #144 | Mechanical rooms should be clutter free allowing accessibility to the panels. | All of the clutter in the mechanical rooms has been removed by custodial staff.
Electrical panels throughout the building were closed but not locked. | Electrical panels should be locked when not in use. | Revised as per Tom Williams. Panels are not to be locked. | Disregard.
Gym doors are not locked when not in use. | Doors must be secured when not in use. | Locked gym locks could prevent a successful emergency evacuation.
|  | emergency evaulation. | Disregard
The plate to the gym door entrance is lifted. | Repair should be conducted immediately due to tripping hazard. | The plate has been repaired by maintenance on numerous occasions.
Outside side doors entrance to the gymnasium , does not have swipe access. Teachers requested that it will be easier and less time consuming to have accessibility to open the doors. | Capital improvement that should be considered. | Swipe access through those doors would compromise the safety of the building and /or deter personnel from signing into the building in the main office.
Storage spaces are filled with books that are no longer used due to curriculum change or teachers are no longer with the district. | Unused books should be disposed off through sale or donation. | Storage spaces are used for such materials. Building administration cannot dispose of these materials without district approval.
Evacuation routes are posted in the classrooms, however; they are not posted in the hallways. | Post evacuation routes in hallways. | Evaulation routes will be posted in the hallways.
Faculty room #219 uses extension cords for printer and laminator machine. | See if extension cords are in code compliance. | This finding is inaccurate. These items are not together on one extention cord. They are on the same wall outlet only.
Ceilings throughout the building are bulging and have a couple of leak spots. Ex. room #'s 219,134, 316 | Observation made by Safety Committee. | Light leak spots were due to summer clean up. (ex. Power washing walls)
Faculty room #321 paper cutter not locked. | Secure/lock paper cutter. | Email will be sent out.
Doors to room #'s 316, 132 and 200 were not locked when not in use. Computer room is #316. Computers were secured with cable lock. | Doors should be locked when not in use. | 316 - Computer Room and 132 - Faculty Room cannot be locked due to constant use. School psychologist has been reminded to keep her door, room 200 , locked when not in use. |  | 316
Room #316 had a magnetic inbox holder attached to the panel. | Panels should be free of clutter. | This item holds the fire drill folder.
Internet wire to a cash register in the cafeteria is not in good condition. | Internet wire should be replaced. | George replaced the wire on 3/25/11.
The cafeteria's back door entrance is damaged. | A new strip is needed due to rodent infestation. | Dan Willette fixed the weather strip on 4/1/11.
Storage/slop room by cafeteria kitchen entrance was cluttered. | Storage/slop room should be clutter free and proper storage for mops and brooms should be used. | Mops and brooms are organized.
One of the hand drying station's by the cafeteria is not working. | Hand drying station should be fixed. | The hand drying station has been repaired.
Positive Notes:
Bus #75 followed safety check protocol before departure.
Teacher in room #134 purchased chair pockets for the children.